## Sheet1
icddr,b, 68 SHAHEED TAJUDDIN AHMED SARANI, MOHAKHALI, DHAKA – 1212, BANGLADESH
Tender Ref. No. icddr,b/SCM/OTM/2020/20, Dated: March 12, 2020
BoQ for Yearly Contract for supply of Spare parts, AC Repair & Maintenance Serive, for the period for 24 months
Sl. No. | Description of items | Unit | Qty | Only Cost of Spare Parts (BDT) | Only Installation/ Fixing Chage (BDT) | Cost of Spare Part including Fixing/installation (BDT) | Origin/Brand of Sapre Parts (as applicable) | Installation/Work completion time (Hours/Day) | Remarks
Part -A Supply & Installation |  |  | Annex-A
1 | Compressor. (Installation work including nitrigen flash , welding , Gas charging & Other necessary work ) |  | For fixing work including remove & all necessary work.
a. | 1.0 ton or 12000 B.T.U capacity (Rotary) | Each | 1
b | 1.5 ton or 18000 B.T.U capacity (Rotary) | Each | 1
c | 1.5 ton or 18000 B.T.U capacity (Bristol USA) | Each | 1
d. | 2.0 ton or 24000 B.T.U capacity (Rotary) | Each | 1
e | 2.0 ton or 24000 B.T.U capacity (Copland) | Each | 1
f. | 2.0 ton or 24000 B.T.U capacity (Bristol USA) | Each | 1
g. | 3.0 ton or 36000 B.T.U capacity (Copland) | Each | 1
h. | 3.0 ton or 36000 B.T.U capacity (Bristol USA) | Each | 1
i. | 4.0 ton or 48000 B.T.U capacity (Copland) | Each | 1
j. | 4.0 ton or 48000 B.T.U capacity (Bristol USA) | Each | 1
k. | 5.0 ton or 60000 B.T.U capacity (Copland) | Each | 1
l. | 5.0 ton or 60000 B.T.U capacity (Bristol USA) | Each | 1
2 | Fan capacitor: Country of origin - Singapore / Malaysia / Thailand (all capacitor must be checked and signed by Supervisor of ICDDR,B before fixing it) | Each | 1
a. | Fan capacitor (1.5 mfd) | Each | 1
b. | Fan capacitor (2.5 mfd) | Each | 1
c. | Fan capacitor (3.0 mfd) | Each | 1
d. | Fan capacitor (4.5 mfd) | Each | 1
e. | Fan capacitor (5.0 mfd) | Each | 1
f. | Fan Capasitor (10 mfd) | Each | 1
3 | Running Capacitor:Country of origin-Singapore / Malaysia / Thailand (Fixing work include checking, removing & all capacitor must be checked and signed by Supervisor of ICDDR,B before fixing )
a. | Running capacitor (25 mfd) | Each | 1
b. | Running capacitor (35/40 mfd) | Each | 1
c. | Running capacitor (45/50 mfd) | Each | 1
d. | Running capacitor (60 mfd) | Each | 1
4 | Starting capacitor:Country of origin-Singapore / Malaysia / Thailand (all capacitor must be checked and signed by Supervisor of ICDDR,B before fixing it)
a. | Starting capacitor (100 mfd) | Each | 1
b. | Starting capacitor (150 mfd) | Each | 1
c. | Starting capacitor (200 mfd) | Each | 1
d. | Starting capacitor (270 mfd) | Each | 1
5 | Magnetic contractor:Brand-Legrand / LG, Korea (Fixing work include checking, removing & all magnetic contactor must be checked and signed by Supervisor of ICDDR,B before fixing )
a. | Magnetic contractor (TP, 20 A Coil-24 v) | Each | 1
b. | Magnetic contractor (TP, 25 A Coil-220 v) | Each | 1
c. | Magnetic contractor (TP, 40 A Coil-24 v) | Each | 1
d. | Magnetic contractor (TP, 40 A Coil-220 v) | Each | 1
6 | Filter drier (Installation work including removing & welding works)
a. | Filter drier (1/2" dia) | Each | 1
b. | Filter drier ( 3/8" dia) | Each | 1
7 | Refrigerant Gas: Kalton,Honeywell,Dupont(AC full Gas chaging including leak checking , vaccum, nitrogen flashing & other necessary work must be checked by Engineer of icddr,b before charging)
a. | R-22 ,R-12 ( Kalton ) | Kg | 1
b. | R-404A, R-410A | Kg | 1
c. | R-134a | Kg | 1
8 | Bearing, Brand: NSK,SFK( Origin by Japan ,Sweden)Fixing work including Removing & all other necessary work
a. | Bearing no-6201/6202/6203 | Each | 1
9 | Compressor over load
b. | Compressor over load ( 1/4, 1/5, 1/6 H.P on average) | Each | 1
10 | Terminal clip standard size (flat / round) | Each | 1
11 | Non-return valve (1/4" dia)Fixing work including removing, welding & all other necessary work | Each | 1
12 | Gas lock valve (Fixing work including removing, welding & all other necessary work)
a. | Gas lock valve (1/4", 3/4" dia on average) | Each | 1
b. | Gas lock valve (1/2", 3/8", 5/8" dia on average) | Each | 1
13 | Indoor /Outdoor Fan motor .( Fixing work including checking, Fan capacitor, removing & all other necessary work).
a. | 1TR to 2.5TR | Each | 1
b. | 3TR to 5TR | Each | 1
14 | Capillary tube.(Fixing work including remove, welding & all other necessary work).
a. | Capillary tube 0.5mm to 5mm – on average | Feet | 1
b. | Capillary tube and 1/8" | Feet | 1
15 | Compressor oil Brand-Shell 68 ( Oil charging including cutting , welding & sealed works) | Litre | 1
16 | AC outdoor Fan blade -as per per sample (Fixing work including removing & all other necessary work).
a. | Fan blade 1.0 ton to 2.5 ton of outdoor unit | Each | 1
b. | Fan blade 3.0 ton to 5.0 ton of outdoor unit | Each | 1
17 | AC indoor Runner / fan blade-as per per sample (Fixing work including removing & all other necessary work).
a. | New runner / fan blade 1.0 ton to 2.5 ton of indoor unit | Each | 1
b. | New runner / fan blade 3.0 ton to 5.0 ton of indoor unit | Each | 1
18 | Strainer:(Fixing work including remove, welding & all other necessary work). | : | :
a. | Strainer (1/4" dia) | Each | 1
b. | Strainer (3/8" dia) | Each | 1
19 | New remote with pc/circuit board 1.0 to 5 ton of indoor unit, as per approved sample | Each | 1
a. | Universel Remote | Each | 1
20 | Electrical/electronic adapter 24v/12v | Each | 1
21 | Supply and installation of expansion valve -3.0 ton to 5.0 ton (Fixing work including removing, welding & all other necessary work). | Each | 1
22 | Supply & fixing water tray for indoor unit 1Tr to 2.5 Tr | Each | 1
23 | Supply & fixing water tray as per sample for indoor unit 3Tr to 5Tr (Fixing work including removing, making cost , insulation , painting & all other necessary work). | Each | 1
24 | Supply and installation of flaring nut (Fixing work including remove, welding & all other necessary work).
a. | Flaring nut (1/4", 3/8" dia) | Each | 1
b. | Flaring nut (1/2", 3/4", 5/8" dia) | Each | 1
25 | Copper pipe- supply and installation Brand- Totalline / Muller, (Installation of copper pipe including, bending, dressing witl foil tape , welding, connecting & other works. All copper pipe must be checked and signed by Supervisor of ICDDR,B before fixing it)
a. | Copper pipe (1/4" dia) | Feet | 1
b. | Copper pipe (1/2" dia) | Feet | 1
c. | Copper pipe (3/8" dia) | Feet | 1
d. | Copper pipe (3/4" dia) | Feet | 1
e. | Copper pipe (5/8" dia) | Feet | 1
26 | Supply of iron base for split type A/C (Installation work including drilling, Hardware materials, labour cost & all other necessary works)
a. | Painted iron base (standard) for split type AC with hanger (1.0 ton to 2.0 ton) | Each | 1
b. | Painted iron base (standard) for split type AC with hanger (3.0 ton to 5.0 ton) | Each | 1
27 | Painted iron base (standard) for window type AC | Each | 1
28 | Window type A/C chassis wooden(Garjon) box-02 ton AC/as per sample | Each | 1
29 | Pipe insulation (Insulfex brand)- as per approved sample | Each | 1
a. | Rubber Insulation (1/4" dia) | Each | 1
b. | Rubber Insulation (1/2" dia) | Each | 1
c. | Rubber Insulation (3/8" dia) | Each | 1
d. | Rubber Insullation (3/4" dia) | Each | 1
e. | Rubber Insulation (5/8" dia) | Each | 1
Part -A Total
Part-B Repair, servicing & maintenance
Sl. No. | Description of items | Unit | Qty | Only Cost of Spare Parts (BDT) | Only Installation/ Fixing Chage (BDT) | Cost of Spare Part including Fixing/installation (BDT) | Origin/Brand of Sapre Parts (as applicable) | Installation/Work completion time (Hours/Day) | Remarks
1 | P. C. board repairing ( Including removing, checking and spare parts) | Each | 1
2 | Remote repairing ( Including removing, checking and spare parts) | Each | 1
3 | Indoor / outdoor fan motor repairing (rewinding with Gazi or equivalent best wire) including checking, cleaning, removing, leath work re-fixing and all other necessary works)
a. | Indoor / outdoor fan motor repairing (rewinding) 1.0 ton to 2.5 ton | Each | 1
b. | Indoor / outdoor fan motor repairing (rewinding ) 3.0 ton to 5.0 ton | Each | 1
c. | Indoor / outdoor fan motor repairing (housing / shaft repairing including lath work) 1.0 ton to 5.0 ton | Each | 1
d. | Indoor / outdoor fan motor repairing, (bearing replacement) 1.0 ton to 5.0 ton | Each | 1
e. | Indoor / outdoor fan motor repairing, (bush to bearing-including lath work) 1.0 ton to 5.0 ton | Each | 1
4 | Servicing (Including indoor filter , coil, fan runner cleaning; condensing coil cleaning & all other necessary works) of split type AC
a. | i) 1.0/1.5 Ton (12,000-18000 BTU) | Set | 1
b. | iii) 2.0/2.5 Ton (24,000 -30000BTU) | Set | 1
c. | iv) 3.0 Ton (36,000 BTU) | Set | 1
d. | v) 4.0/5.0 Ton (48,000-60000 BTU) | Set | 1
e. | vii) 6.0 Ton to 10 ton (72,000 BTU) | Set | 1
5 | Overhauling & servicing (including servicing AC, AC Gas locking, removing , indoor unit partly cleaning with cleaning materials , refixing, un locking, handover &all necessary works) of single split type AC- as per instruction of engineering unit
a. | i) 1.0/1.5 Ton (12,000-18000 BTU) | Set | 1
b | iii) 2.0/2.5 Ton (24,000 -30000BTU) | Set | 1
c | iv) 3.0 Ton (36,000 BTU) | Set | 1
d. | v) 4.0/5.0 Ton (48,000-60000 BTU) | Set | 1
e. | vii) 6.0 Ton to 10 ton (72,000 BTU) | Set | 1
6 | Installation rate of sigle split wall/Casset/ceilling type AC (with existing iron base, existing copper pipe up, new insulation of drain line & power line wiring up to 15mtr with all other necessary civil/related works)
a | i) 1.0 ton (12,000 BTU) | Each | 1
b | ii) 1.5 ton (18,000 BTU) | Each | 1
c | iii) 2.0 & 2.5 ton (24,000 BTU) | Each | 1
d | iv) 3.0 ton (48,000 BTU) | Each | 1
e | v) 4.0 ton (48,000 BTU) | Each | 1
f. | vi) 5.0 ton (60,000 BTU) | Each | 1
g | vii) More than 5.0 ton (60,000 BTU) | Each | 1
7 | Removing rate of all kinds of split AC set: (including existing iron base, copper pipe, insulation, drain line & power line and all other necessary civil/related works)
a | i) 1.0/1.5 Ton (12,000-18000 BTU) | Set | 1
b | iii) 2.0/2.5 Ton (24,000 -30000BTU) | Set | 1
c | iv) 3.0 Ton (36,000 BTU) | Set | 1
d | v) 4.0/5.0 Ton (48,000-60000 BTU) | Set | 1
e | vii) 6.0 Ton to 10 ton (72,000 BTU) | Set | 1
8 | Window type A/C installation: with new painted iron base (standard), wooden box, civil works, drain line & power line including MCB from DB & all other necessary works
| i) 1.0 ton (12,000 BTU) | Each | 1
| ii) 1.5 ton (18,000 BTU) | Each | 1
| iii) 2.0 ton (24,000 BTU) | Each | 1
9 | Window type A/C removing (with existing iron base), including wooden box, civil works, drain line, power line and all other necessary works
| i) 1.0 ton (12,000 BTU) | Each | 1
| ii) 1.5 ton (18,000 BTU) | Each | 1
| iii) 2.0 ton (24,000 BTU) | Each | 1
10 | Re-installation of multi split type AC: (with existing iron base), including new copper pipe up to 15 feet, proper insulation, drain line & power line and all other necessary works.
a | i) 2.0 ton (12,000 + 12,000) 24,000 BTU | Set | 1
b | ii) 3.0 ton (18,000 + 18,000) 36,000 BTU | Set | 1
c | iii) 4.0 ton (24,000 + 24,000) 48,000 BTU | Set | 1
11 | Removing & reinstallation of indoor unit (including new insulation, drain line(surface) & power line all necessary works)
a. | 1.0 ton to 2.0 ton | Unit | 1
b. | 3.0 ton to 5.0 ton | Unit | 1
12 | Removing & re-installation ofoutdoor unit (with existing iron base), dismantling & lifting, including new insulation, foil tape, power line and all other necessary works)
a. | 1.0 ton to 2.0 ton | Unit | 1
b. | 3.0 ton to 5.0 ton | Unit | 1
13 | Leak repairing works with welding & Nitrogen Flashing (including leak checking & other related standard works) | Set | 1
14 | Complete nitrogen flashing (1.0 ton to 5.0 ton) | Each | 1
a. | Surface drain line works with water grade u- PVC pipe, fittings insulation, foil tape and All necessary materials & works | Feet | 1
15 | Drain line concealed works with required u-PVC pipe, fittings, insulation, wall cutting, civil work, materials & all necessary work | Feet | 1
16 | A/C indoor air filter cleaning charge:
a. | A/C indoor air filter cleaning charge (1.0 ton to 2.0 ton) | Each | 1
b | A/C indoor air filter cleaning charge (3.0 ton to 5.0 ton) | Each | 1
17 | A/C drain water line cleaning charge | Each | 1
Part-B Total
Part-C Transportation & other cost | [5 empty] | 0
Sl. No. | Description of items | Unit | Qty | Only Cost of Spare Parts (BDT) | Only Installation/ Fixing Chage (BDT) | Cost of Spare Part including Fixing/installation (BDT) | Origin/Brand of Sapre Parts (as applicable) | Installation/Work completion time (Hours/Day) | Remarks
1 | Additional Cost for repair/installation / reinstallation / maiitenance out of Dhaka District | BDT (Installation Cost)
a | Matlab
b | Sylhet
c | Chittagong
d | Faridpur
Part-C Total
Grand Total
Signature of Tenderer: ……………………………………………………………
Full name of Tenderer: ……………………………………………………
Name of Firm/company: ……………………………………………………
Address: ………………………………………………………………..…
Phone: ……………………… E-mail: ….………………………..
Trade license No:… .TIN No:…………..VAT Rgn. No:………….…...